|  | Ministry of the Environment, Conservation and Parks Ministère de l’Environnement, de la Protection de la nature et des Parcs |
| --- | --- |

|  |  | ENVIRONMENTAL COMPLIANCE APPROVAL NUMBER 2340-BGMNDY Issue Date: December 20, 2019 |
| --- | --- | --- |

|  | York Environmental Solutions Ltd. as general partner for and on behalf of York Environmental Solutions, LP 125 Villarboit Cres Vaughan, Ontario L4K 4K2 |
| --- | --- |
| Site Location: | 195 Bethridge Road 195 Bethridge Rd Toronto City, M9W 1N4 |

You have applied under section 20.2 of Part II.1 of the Environmental Protection Act, R.S.O. 1990, c. E. 19 (Environmental Protection Act) for approval of:

a waste disposal site

to be used for the transfer and processing of the following types of waste:

solid non-hazardous waste, limited to contaminated soils and soils containing construction and demolition debris

Note: Use of the site for any other type of waste is not approved under this environmental compliance approval, and requires obtaining a separate approval amending this environmental compliance approval.

For the purpose of this environmental compliance approval, the following definitions apply:

"Adverse Effect" as defined in the EPA;

"Approval" means this Environmental Compliance Approval and any Schedules to it, including the application and supporting documentation listed in Schedule "A";

"ARA" means the Aggregate Resources Act, R.S.O. 1990, c. A.8, as amended;

"Company" and " Owner" mean York Environmental Solutions Ltd. as general partner for and on behalf of York Environmental Solutions, LP, and includes its officers, employees, agents, contractors, successors and assigns in accordance with section 19 of the EPA;

"Composite Sample" means a sample that is made up of a number of laboratory grab samples from a single sample container that have been thoroughly mixed together;

"debris" means solid non-hazardous material present in an incoming soil mixture that is not soil;

"Director" means any Ministry employee appointed in writing by the Minister pursuant to section 5 of the EPA as a Director for the purposes of Part II.1 of the EPA;

"District Manager" means the District Manager for the Toronto District Office of the Ministry;

"EPA" and "Act" means the Environmental Protection Act, R.S.O. 1990, c. E. 19, as amended;

"Hazardous Waste" is as defined in Regulation 347;

"Industrial/Commercial/Community Property Use" is as defined by O. Regulation 153/04;

"m3" means cubic metres;

"Ministry" means the ministry of the government of Ontario responsible for the EPA and includes all officials, employees, or other persons acting on its behalf;

"NMA" means the Nutrient Management Act, 2002, S.O. 2002, c. 4, as amended;

"O. Regulation 153/04" or "O. Reg. 153/04" means Ontario Regulation 153 (Records of Site Condition - Part XV.1 of the EPA), as amended;

"Operator" means any person, other than the Owner's employees, authorized by the Owner as having the charge, management or control of any aspect of the Site;

"OWRA" means the Ontario Water Resources Act, R.S.O. 1990, c. O.40, as amended;

"PA" means the Pesticides Act, R.S.O. 1990, c. P-11, as amended;

"Permit" means a fill permit issued for the receiving site under a municipal by-law enacted under section 142 of the Municipal Act, S.O. 2001, c.25, as amended, a development permit for the receiving site granted under a Regulation made pursuant to section 28 of the Conservation Authorities Act, R.S.O. 1990. c. C.27, as amended;

"Processed Soil" means the Contaminated Soil processed at the Site, where processing is limited as per the conditions of this Approval;

"Processing Area" means the area of the Site where all waste management activitiespermitted by the conditions of this Approval and described in the attached supporting documentation listed in Schedule “A” are carried out;

"Provincial Officer" means any person designated in writing by the Minister as a provincial officer pursuant to Section 5 of the OWRA or Section 5 of the EPA or Section 17 of the PA or Section 4 of the NMA or Section 8 of the SDWA;

"Putrescible Waste" means organic waste that decomposes rapidly, such as food waste;

"Qualified Person" means a person who meets the qualifications to be a qualified person for conducting a phase one and a phase two environmental site assessment and for completing certifications in a record of site condition, as set out in Section 5 of O. Regulation 153/04;

"Regulation 347" or "Reg. 347" means Regulation 347, R.R.O. 1990, General - Waste Management, made under the EPA, as amended;

"Rejected Waste" means the incoming load inadvertently received at the Site and deemed by the Owner to be waste that does not meet the incoming Contaminated Soil quality criteria set out in this Approval or that cannot be processed;

"Residential/Parkland/Institutional Property Use" is as defined by O. Regulation 153/04;

"Residual Waste" means waste resulting from the management of the Contaminated Soil at the Site and destined for further management at an off-Site location or final disposal;

"RSC" means the record of site condition;

"SDWA" means the Safe Drinking Water Act, 2002, S.O. 2002, c. 32, as amended;

"Similar Soils" within context of Conditions 14.0 and 15.0, means the Contaminated Soils with characteristics that comply with the quality criteria set out in Condition 20.2 required for transfer to the same site;

"Site" means the operation being approved under this Approval, located at 195 Bethridge Road, M9W 1N4, Toronto, Ontario;

"Soil Amendment" means material added to the Soil to improve properties of the soil for beneficial reuse, such as porosity, moisture content, nutrient content, or material used to promote natural passive degradation of contaminants;

"Soil Standards" means the concentrations of the contaminants in the Standards Document;

"Soil" means unconsolidated naturally occurring mineral particles and other naturally occurring material resulting from the natural breakdown of rock or organic matter by physical, chemical or biological processes that are smaller than 2 millimetres in size or that pass the US #10 sieve;

"Solid non-hazardous waste" means a waste that is not a liquid waste and not a hazardous waste as defined in Regulation 347;

"Source site" means the location of origin of the non-hazardous Contaminated Soil which is received at the Site for processing or temporary storage and transfer;

"Spill" is as defined in the EPA;

"Standards Document" means the Ministry document entitled “Soil, Ground Water and Sediment Standards for Use Under Part XV.1 of the Environmental Protection Act”, revised version April 15, 2011, as amended;

"SVOCs" means semi-volatile organic compounds;

"Table 2 Soil Standards" means the full depth generic site condition standards for potable ground water site conditions for Industrial/Commercial/Community Property Use listed in Table 2 of the Standards Document;

"TCLP" means Toxicity Characteristic Leaching Procedure as defined in Regulation 347;

"Tested Soil" means the Processed Soil that has been tested in accordance with this Approval to demonstrate compliance with the appropriate reuse quality criteria set out in Condition 22.1 below;

"Trained Personnel" means an employee trained in accordance with the requirements of Condition 25.3 and is knowledgeable through instruction and/or practice and able to carry out any necessary duties;

"VOCs" means volatile organic compounds.

You are hereby notified that this environmental compliance approval is issued to you subject to the terms and conditions outlined below:

TERMS AND CONDITIONS

1.0	General

Compliance

1.1	The Owner shall ensure compliance with all the conditions of this Approval and shall ensure that any person authorized to carry out work on or operate any aspect of the Site is notified of this Approval and the conditions herein and shall take all reasonable measures to ensure any such person complies with the same.

1.2	Any person authorized to carry out work on or operate any aspect of the Site shall comply with the conditions of this Approval.

Build, etc. in Accordance

1.3	(1)	Except as otherwise provided by this Approval, the Site shall be designed, developed, built, operated and maintained in accordance with the application for this Approval received April 30, 2019 and signed by George Kirchmair, P.Eng., VP Environmental Services, York Environmental Solutions Ltd., and the supporting documentation listed in the attached Schedule “A”.

(2)	1.	Construction and installation of the aspects of the described in Schedule "A" must be completed within 5 years of the later of:

(a)	the date this Approval is issued; or

(b)	if there is a hearing or other litigation in respect of the issuance of this Approval, the date that this hearing or litigation is disposed of, including all appeals.

2.	This Approval ceases to apply in respect of the aspects of the Site noted above that have not been constructed or installed before the later of the dates identified in Condition 1.3(1) above.

1.4	The Owner shall maintain a copy of each supporting document listed in Schedule "A" at the Site to be made available to any Provincial Officer upon request.

Interpretation

1.5	Where there is a conflict between a provision of any document, including the application referred to in this Approval and the conditions of this Approval,the conditions in this Approval shall take precedence.

1.6	Where there is a conflict between the application and a provision in any documents listed in Schedule "A", the application shall take precedence, unless it is clear that the purpose of the document was to amend the application and that the Ministry approved the amendment.

1.7	Where there is a conflict between any two documents listed in Schedule "A", other than the application, the document bearing the most recent date shall take precedence.

1.8	The requirements of this Approval are severable.  If any requirement of this Approval, or the application of any requirement of this Approval to any circumstance, is held invalid or unenforceable, the application of such requirement to other circumstances and the remainder of this Approval shall not be affected thereby.

Other Legal Obligations

1.9	The issuance of, and compliance with the conditions of, this Approval does not:

- relieve any person of any obligation to comply with any provision of any applicable statute, regulation or other legal requirement; or

- limit in any way the authority of the Ministry to require certain steps be taken or to require the Owner to furnish any further information related to compliance with this Approval.

Adverse Effects

1.10	The Site shall be constructed, operated and maintained in an environmentally safe manner which ensures the health and safety of all persons and minimizes adverse effects on the natural environment.

1.11	The Owner shall take steps to minimize and ameliorate any adverse effect on the natural environment or impairment of water quality resulting from the Site, including such accelerated or additional monitoring as may be necessary to determine the nature and extent of the effect or impairment.

1.12	Despite an Owner or any other person fulfilling any obligations imposed by this Approval the person remains responsible for any contravention of any other condition of this Approval or any applicable statute, regulation, or other legal requirement resulting from any act or omission that caused the adverse effect to the natural environment or impairment of water quality.

Change of Owner

1.13	The Owner shall notify the Director in writing, and forward a copy of the notification to the District Manager, within thirty (30) days of the occurrence of any changes:

- the ownership of the Site;

- the operator of the Site;

- the address of the Owner;

- the partners, where the Owner is or at any time becomes a partnership and a copy of the most recent declaration filed under the Business Names Act, R.S.O. 1990, c. B.17, as amended, shall be included in the notification;

- the name of the corporation where the Owner is or at any time becomes a corporation, other than a municipal corporation, and a copy of the most current information filed under the Corporations Information Act, R.S.O. 1990, c. C.39, as amended, shall be included in the notification.

1.14	No portion of this Site shall be transferred or encumbered prior to or after closing of the Site unless the Director is notified in advance and sufficient financial assurance is deposited with the Ministry to ensure that these conditions will be carried out.   In the event of any change in ownership of the Site, other than change to a successor municipality, the Owner shall notify the successor of and provide the successor with a copy of this Approval, and the Owner shall provide a copy of the notification to the District Manager and the Director.

Wastewater Discharges

2.1	All wastewater must be discharged in accordance with the OWRA, any Approval issued under Section 53 of the OWRA, and any applicable Municipal Sewer Use By-Law(s).

Discharges to the Atmosphere

2.2	The Owner shall not operate this Site unless all air approvals under Section 9 of the Act, where applicable, have been obtained.

3.0	Inspections by the Ministry

3.1	No person shall hinder or obstruct a Provincial Officer from carrying out any and all inspections authorized by the OWRA, the EPA, the PA, the SDWA or the NMA of any place to which this Approval relates, and without limiting the foregoing:

- to enter upon the premises where the approved processing is undertaken, or the location where the records required by the conditions of this Approval are kept;

- to have access to, inspect, and copy any records required to be kept by the conditions of this Approval;

- to inspect the Site, related equipment and appurtenances;

- to inspect the practices, procedures, or operations required by the conditions of this Approval; and

- to sample and monitor for the purposes of  assessing compliance with the terms and conditions of  this Approval or the EPA, the OWRA, the PA, the SDWA or the NMA.

4.0	Information and Record Retention

4.1	Any information requested by the Ministry, concerning the operation of the Site and its operation under this Approval, including but not limited to any records required to be kept by this Approval shall be provided to the Ministry, upon request.  Records shall be retained for seven (7) years except as otherwise authorized in writing by the Director.

4.2	The receipt of any information by the Ministry or the failure of the Ministry to prosecute any person or to require any person to take any action, under this Approval or under any statute, regulation or other legal requirement, in relation to the information, shall not be construed as:

- an approval, waiver, or justification by the Ministry of any act or omission of any person that contravenes any term or condition of this Approval or any statute, regulation or other legal requirement; or

- acceptance by the Ministry of the information’s completeness or accuracy.

5.0	Financial Assurance

5.1	No later than 30 days from the date of issuance of this Approval, the Owner shall Financial Assurance, as defined in Section 131 of the EPA, in the amount of $1,251,250 (CAN) to the Director.  This Financial Assurance shall be in a form acceptable to the Director and shall provide sufficient funds for the analysis and transportation off-site of all permitted waste, Site clean-up, and the long-term monitoring and maintenance of the Site.

5.2	Commencing on March 31, 2024 and at intervals of four (4) years thereafter, the Owner shall submit to the Director, a re-evaluation of the amount of Financial Assurance to implement the actions required under Condition 5.1.  The re-evaluation shall include an assessment based on any new information relating to the environmental conditions of the Site and shall include the costs of additional monitoring and/or implementation of contingency plans required by the Director upon review of the closure plan and annual reports. The Financial Assurance must be submitted to the Director within ten (10) days of written acceptance of the re-evaluation by the Director.

5.3	Commencing on March 31, 2020, the Owner shall prepare and maintain at the Site an updated re-evaluation of the amount of Financial Assurance required to implement the actions required under Condition 5.1 for each of the intervening years in which a re-evaluation is not required to be submitted to the Director under Condition 5.2.  The re-evaluation shall be made available to the Ministry, upon request.

5.4	The amount of Financial Assurance is subject to review at any time by the Director and may be amended at his/her discretion.  If any Financial Assurance is scheduled to expire or notice is received, indicating Financial Assurance will not be renewed, and satisfactory methods have not been made to replace the Financial Assurance at least sixty (60) days before the Financial Assurance terminates, the Financial Assurance shall forthwith be replaced by cash.

6.0	Waste Types, Processes and Service Area

6.1	The Site may receive solid, non-hazardous Contaminated Soil originating in the Province of Ontario that is contaminated with petroleum hydrocarbons and metals and/or contains construction & demolition debris, for the purposes of transfer or processing.  No free-phase liquid (non-aqueous phase liquid), excluding water, shall be present in the Contaminated Soils.

6.2	The following processes may be carried out at the Site:

a.	the transfer of Contaminated Soil;

b.	the screening of Contaminated Soil to remove debris;

c.	the crushing of concrete, stones and other similar material screened out or otherwise removed from Contaminated Soil received at the Site;

d.	the homogenization of Soil loads.

e.	the processing of Contaminated Soil through the addition of the Soil Amendments listed in Condition 7.1 to improve properties of the soil for beneficial reuse, such as porosity, moisture content, nutrient content, or to promote natural passive degradation of contaminants;

6.3	The Site may only receive Contaminated Soil for processing that does not contain metals at concentrations exceeding the applicable quality criteria for reuse at the final destination in accordance with Condition 20.2.

6.4	The Owner shall ensure that Contaminated Soil that is classified as a hazardous waste, as defined in Regulation 347, is not received at the Site.

7.0	Soil Amendment Materials

7.1	The following are approved for receipt, temporary storage and use at the Site as soil amendment material:

- compost that meets the definition of an exempt waste as set out in Section 3(2)25 of Regulation 347;

- aged horse or cow manure that meets the definition of agricultural waste set out in Regulation 347;

- carbon and carbon products;

- cement;

- solid non-hazardous cement kiln dust; and

- the other soil amendments described in Items 2 and 3 of Schedule "A".

8.0	Waste Limits, Capacity and Handling

8.1	The amount of Contaminated Soil that may be received at the Site, including Contaminated Soil awaiting sampling, analysis and/or characterization at the Site, is limited to 3,500 tonnes per day.

8.2	Notwithstanding Condition 8.1 above, the Site may receive up to 6,000 tonnes of Contaminated Soil, including Contaminated Soil awaiting sampling, analysis and/or characterization at the Site, for up to 10 consecutive days, provided the daily receipt does not exceed 3,500 tonnes on more than 90 days in any year and no more than 1,242,500 tonnes of Contaminated Soil is received at the Site in any year.

8.3	The maximum amount of Contaminated Soil, Processed Soil and Residual Waste allowed at the Site at any one time is limited to 35,000 tonnes.

8.4	The Contaminated Soil received at the Site shall be transferred forthwith from the receiving vehicle to the designated receiving area.

8.5	Rejected Waste shall be removed from the Site within (4) business days of its receipt or receipt of the laboratory report for the analysis of the Contaminated Soil deemed as the Rejected Waste, as applicable, or as acceptable to the District Manager.

8.6	In the event that the Contaminated Soil that is not approved under this Approval is inadvertently accepted at the Site, the Owner shall ensure that this Rejected Waste:

- is stored indoors or outdoors covered in the way that ensures isolation from other wastes and materials and from the natural environment;

- is handled and removed from the Site in accordance with Regulation 347 and the EPA,and that a record is made in the daily log book of the reason why the Contaminated Soil was refused and the origin of the waste, if known.

8.7	The Owner shall ensure that all solid Residual Waste:

- is stored in a designated area of the Site;

- is segregated from all other waste;

- is removed from the Site within sixty (60) days from the time of its generation; and

- is managed and removed from the Site in accordance with Regulation 347 and the EPA.

9.0	Site Security and Signage:

9.1	The Site must be maintained in a secure manner, such that unauthorized persons cannot enter the Site.

9.2	The Owner shall ensure that a sign readable twenty four (24) hours per day is posted at the entrance to the Site stating the following information:

- name of the Owner;

- this Approval number;

- normal hours of operation;

- telephone number to which complaints may be directed;

- twenty-four hour emergency telephone number (if different from above);

- a warning against unauthorized access; and

- a warning against dumping at the Site.

9.3	The Owner shall ensure that the Site is secured and that all entrances are secured by lockable gates to prevent unauthorized access when the Site is not open.

9.4	The Owner shall ensure that the Site is operated in a safe and secure manner, and that all waste is properly handled, contained, stored and labelled so as not to pose any threat to the general public and the Site personnel.

SITE OPERATIONS

10.0	Hours of Operation

10.1	Contaminated Soil may be received at the Site 24 hours per day, 7 days per week, unless otherwise restricted by municipal bylaws.

10.2	The processing of Contaminated Soil shall only be conducted during the operating hours noted in condition 10.1 above.

11.0	Incoming Contaminated Soil Receipt:

Required Documentation from Generator of Contaminated Soil for Processing

11.1	Before accepting any Contaminated Soil at the Site, the Owner shall acquire documentation from the generator showing the origin of the Contaminated Soil, verifying that it is a solid, non-hazardous waste and characterizing its contaminating constituents.  As a minimum, the documentation shall include the following:

- the generator's name and/or company name, address, and contact information;

- Contaminated Soil source site location;

- current Contaminated Soil source site activities and land use;

- past Contaminated Soil source site activities and land use, if known;

- estimated quantity of the Contaminated Soil to be received at the Site;

- the results of any Phase 1 and Phase 2 site assessments undertaken for the source site provided that samples were collected in accordance with the Ministry’s requirements under O. Regulation 153/04 or the following sampling and analytical results data:

  - sampling protocols, including the number of samples taken and their locations, the sampling methods used and handling of the samples;

  - analytical results for Regulation 347 Schedule 9 slump test if the Contaminated Soil has a high moisture content;

  - any applicable analytical results demonstrating that the Contaminated Soil is not Hazardous Waste;

  - source site concentrations for heavy metals and other potential contaminants of concern, including petroleum hydrocarbon fractions F1 (C6-C10), F2 (>C10-C16), F3 (>C16-C34), and F4 (>C34), VOCs and SVOCs, based on the current and past source site activities and land use, all determined from samples collected in accordance with the following:

    - when carrying out an in-situ and ex-situ characterization of Contaminated Soil from residential source sites:

      - a minimum of one (1) Contaminated Soil sample shall be collected for each 500 m3 of the Contaminated Soil to be excavated/excavated for testing of VOCs and SVOCs;

      - a minimum of one (1) Contaminated Soil sample shall be collected for each 300 m3 of the Contaminated Soil to be excavated/excavated for all other testing, including testing for petroleum hydrocarbon fractions F1 (C6-C10), F2 (>C10-C16), F3 (>C16-C34), and F4 (>C34);

    - when carrying out an in-situ characterization of Contaminated Soil from IC&I source sites:

      - a minimum of three (3) Contaminated Soil samples shall be collected if less than 600 m3 of the Contaminated Soil is to be excavated;

      - a minimum of one (1) Contaminated Soil sample shall be collected for each 200 m3 of the Contaminated Soil for the first 10,000 m3 of the Contaminated Soil to be excavated; and

      - a minimum of one (1) Contaminated Soil sample shall be collected for each additional 450 m3 of the Contaminated Soil after the first 10,000 m3 of the Contaminated Soil to be excavated;

    - when carrying out an ex-situ characterization of Contaminated Soil from IC&I source sites the sampling frequency requirements are as follows:

      - for stockpile volume of less than 220 m3, a minimum of 2 samples shall be collected;

      - for stockpile volume between 221 m3 and 430 m3, a minimum of 3 samples shall be collected;

      - for stockpile volume between 431 m3 and 670 m3, a minimum of 4 samples shall be collected;

      - for stockpile volume between 671 m3 and 950 m3, a minimum of 5 samples shall be collected;

      - for stockpile volume between 951 m3 and 1,250 m3, a minimum of 6 samples shall be collected;

      - for stockpile volume between 1,251 m3 and 1,550 m3, a minimum of 7 samples shall be collected;

      - for stockpile volume between 1,551 m3 and 1,850 m3, a minimum of 8 samples shall be collected;

      - for stockpile volume between 1,851 m3 and 2,200 m3, a minimum of 9 samples shall be collected;

      - for stockpile volume between 2,201 m3 and 2,500 m3, a minimum of 10 samples shall be collected;

      - for stockpile volume between 2,501 m3 and 2,900 m3, a minimum of 11 samples shall be collected;

      - for stockpile volume between 2,901 m3 and 3,300 m3, a minimum of 12 samples shall be collected;

      - for stockpile volume between 3,301 m3 and 3,700 m3, a minimum of 13 samples shall be collected;

      - for stockpile volume between 3,701 m3 and 4,100 m3, a minimum of 14 samples shall be collected;

      - for stockpile volume between 4,101 m3 and 4,500 m3, a minimum of 15 samples shall be collected;

      - for stockpile volume between 4,501 m3 and 5,000 m3, a minimum of 16 samples shall be collected;

      - for stockpile volume of greater than 5,000 m3, a minimum of samples to be collected shall be calculated in accordance with the following formula:

N = [32 + (volume – 5000 / 300)]/2

Where “volume” is the actual stockpile volume

All supported by any applicable analytical results from an accredited laboratory (Canadian Association for Laboratory Accreditation or equivalent).

Required Documentation from Generator of Contaminated Soil for Transfer to Waste Disposal Site

11.2	Before accepting any Contaminated Soil at the Site that is destined for final disposal at a non-hazardous waste landfill site, the Owner shall acquire documentation from the generator showing the origin of the Contaminated Soil and verifying that it is a solid, non-hazardous waste.  As a minimum, the documentation shall include the following:

- the generator's name and/or company name, address, and contact information;

- Contaminated Soil source site location;

- estimated quantity of the Contaminated Soil to be received at the Site;

- sampling protocols, including the number of samples taken and their locations, the sampling methods used and handling of the samples, as required by the landfill site’s Environmental Compliance Approval or by the landfill site’s owner;

- analytical results for Regulation 347 Schedule 9 slump test if the Contaminated Soil has a high moisture content;

- any applicable analytical results demonstrating that the Contaminated Soil is not Hazardous Waste; and

- any other information required to demonstrate compliance with the landfill site’s waste receipt restrictions.

Acceptance Following Review of Generator Documentation

11.3	The Owner shall not accept Contaminated Soil at the Site until such time as the documentation required by Conditions 11.1 and/or 11.2, above, is reviewed and deemed acceptable by Trained Personnel, except when accepting the Contaminated Soil in accordance with Conditions 11.4 and 11.5.

Acceptance for Processing where Deficiencies in Generator Documentation are Corrected

11.4	Provided that the Contaminated Soil is shown to be a solid non-hazardous waste, the Owner may accept the Contaminated Soil destined for processing at the Site, for which the documentation required by Condition 11.1 is deficient, if that Contaminated Soil remains segregated from all other Contaminated Soil and materials until the missing analytical results or source site concentrations are promptly provided by the generator and have been reviewed and deemed acceptable by Trained Personnel.

Acceptance for Processing at the Site with Intent to Characterize at the Site

11.5	Provided that the Contaminated Soil is shown to be a solid non-hazardous waste the Owner may accept the Contaminated Soil destined for processing at the Site, for which the documentation required by Condition 11.1 is deficient or unavailable, if that Contaminated Soil remains segregated from all other Contaminated Soil and materials and until sufficient samples of the Contaminated Soil are sampled at the Site in accordance with the ex-situ sampling protocol set out in Condition 11.1 or Condition 11.12, as appropriate, and samples are submitted to the accredited laboratory for the required analysis to correct the deficiencies in the required characterization documentation or carry out the required Contaminated Soil characterization within:

a.	seventy two (72) hours from the receipt of the first load from the source site, or twenty four (24) hours from receipt of the final load from the source site (or on the next business day, whichever comes first) for source sites where the amount of Contaminated Soil being received does not exceed 500 tonnes; or

b.	twenty four (24) hours from receipt (or on the next business day, whichever comes first) for all other loads.

Unacceptable/Rejected

11.6	Any Contaminated Soil characterized at the Site that is found to be unacceptable for receipt at the Site shall be deemed as Rejected Waste, and shall be transferred from the Site in accordance with the requirements of this Approval.

Receipt of Contaminated Soil at the Site

11.7	All Contaminated Soil receipt and unloading shall be undertaken within a dedicated receiving area at the Site.

11.8	Trained Personnel shall visually inspect the incoming Contaminated Soil as it is being unloaded.  Any Contaminated Soil that exhibits characteristics suggesting that it is not a solid, non-hazardous waste shall be deemed a Rejected Waste and disposed of in accordance with the conditions of this Approval.

Transition Period Characterization Requirements

11.9	Starting on April 1, 2020, the Owner shall characterize the incoming Contaminated Soil destined for processing at the Site in accordance with the requirements set out in Condition 11.1 and Conditions 11.4 through 11.5.

11.10	From the date of this Approval until March 31, 2020, before accepting any Contaminated Soil at the Site for processing at the Site, the Owner shall acquire documentation from the generator showing the origin of the Contaminated Soil, verifying that it is a solid, non-hazardous waste and characterizing its contaminating constituents.  As a minimum, the documentation shall include the following:

- the generator's name and/or company name, address, and contact information;

- Contaminated Soil source site location;

- current Contaminated Soil source site activities and land use;

- past Contaminated Soil source site activities and land use, if known;

- estimated quantity of the Contaminated Soil to be received at the Site;

- the results of any Phase 1 and Phase 2 site assessments undertaken for the source site in accordance with the Ministry’s requirements under O. Regulation 153/04 or the following sampling and analytical results data:

  - sampling protocols, including the number of samples taken and their locations, the sampling methods used and handling of the samples, if available;

  - analytical results for Regulation 347 Schedule 9 slump test if the Contaminated Soil has a high moisture content;

  - any applicable analytical results demonstrating that the Contaminated Soil does not trigger any criteria from the hazardous waste definition from Regulation 347, including TCLP analysis;

  - source site concentrations for petroleum hydrocarbons;

  - source site concentrations for heavy metals; and

  - other potential contaminants of concern, including volatile organic compounds and semi-volatile organic compounds, based on the current and past source site activities and land use.

All supported by any applicable analytical results from an accredited laboratory (Canadian Association for Laboratory Accreditation or equivalent).

11.11	From the date of this Approval until March 31, 2020, the Owner shall not accept Contaminated Soil at the Site for processing at the Site, until such time when the documentation required by Condition 11.10, above, is reviewed and deemed acceptable by Trained Personnel, except when the documentation from the generator is deficient or unavailable, provided that the Contaminated Soil remains segregated from all other Contaminated Soil and materials until the missing analytical results or source site concentrations have been provided by the generator or obtained by the Owner through analysis of samples taken at the Site in accordance with this Approval.

11.12	From the date of this Approval until March 31, 2020, where the Owner is required to take samples of segregated incoming Contaminated Soil at the Site and the Contaminated Soil is destined for processing at the Site, the incoming Contaminated Soil characterization at the Site shall be carried out as follows:

- sampling of the incoming Contaminated Soil shall be carried out within twenty four (24) hours from its receipt, or on the next business day, whichever comes first;

- the Owner shall collect samples from the Contaminated Soil storage stock piles and test the samples in accordance with the requirements set out in Condition 11.12c. through 11.12f. ;

- samples shall be submitted to an accredited laboratory for the required analysis and the following parameters shall be tested for:

  - parameters required to determine if the incoming Contaminated Soil is a non-hazardous waste, including relevant parameters set out in Schedule 4 entitled “Leachate Quality Criteria” of Regulation 347;

  - petroleum hydrocarbon fractions: F1 (C6-C10), F2 (>C10-C16), F3 (>C16-C34), and F4 (>C34);

  - Benzene, Toluene, Ethyl Benzene and any other VOCs  based on the source site uses and history;

  - SVOCs based on the source site uses and history;

  - heavy metals based on the source site uses and history and the nature of the spill; and

  - any other contaminants based on the source site uses and history and the nature of the spill.

Sampling Frequency:

d.	for the Contaminated Soil stock piles size smaller than three (3) cubic meters, the Owner shall ensure that a minimum of three (3) aliquots are taken for each cubic meter of the Contaminated Soil and that a composite sample of the Contaminated Soil is prepared for the required analysis.

e.	for the Contaminated Soil stockpiles of size greater than three (3) cubic metres but less than fifty (50) cubic metres, the Owner shall ensure that the Contaminated Soil representative individual grab samples are taken in accordance with the following sampling frequency for the required analysis:

| Pile Volume | Samples for Laboratory Analysis |
| --- | --- |
| Less than 50 m3 | A minimum of one sample |
| >50m3 to 150 m3 | A minimum of three samples |
| >150m3 to 500 m3 | A minimum of five samples |
| >500m3 to 1500 m3 | A minimum of 10 samples |
| >1500 m3 | A minimum of 15 samples |

f.	for the Contaminated Soil stock piles of size greater than 5,000 cubic metres, the sampling frequency shall be determined in accordance with the formula set out in the Ministry’s document entitled "Principles of Sampling and Analysis of Waste for TCLP under Regulation 347" dated February, 2002, as amended and the Owner shall ensure that the Contaminated Soil representative individual grab samples are taken for the required analysis.

Sampling/Testing Methods:

g.	all Contaminated Soil stockpiles sampling and sample testing shall be carried out in accordance with procedures set out in Condition 22.0.

12.0	Storage Area Requirements:

12.1	All storage of the Contaminated Soil, Rejected Waste, Residual Waste, Processed Soil, processing amendments and/or reagents shall be carried out within the designated areas of the Site as set out in supporting documentation included in the attached Schedule “A” and as required below:

- Contaminated Soil storage stock piles shall be contained within bunkers with appropriate signage as described in the attached Schedule "A".

- Notwithstanding provisions of Condition 12.1a, above, incoming Contaminated Soil requiring segregation shall be kept in a designated area separate from other soils.

13.0	Waste Inspections:

13.1	All sampling/analytical documentation for the loads of Contaminated Soil entering the Site shall be reviewed by Trained Personnel prior to Contaminated Soil being accepted at the Site to ensure that the Contaminated Soil is of a type approved for acceptance under this Approval.

14.0	Transfer:

14.1	The transfer of Contaminated Soil encompasses the following waste management activities:

- weighing all incoming and outgoing truck loads and recording the results;

- receipt;

- temporary storage;

- screening, as required

- homogenization of Soil; and

- transfer of the Contaminated Soil intended for transfer to a waste disposal site.

14.2	The maximum storage duration of the Contaminated Soil destined for transfer to a waste disposal site shall not exceed ninety (90) days from its receipt.

14.3	The Contaminated Soil intended for transfer to a waste disposal site shall not exceed the criteria set out in the Environmental Compliance Approval issued by the Ministry for the receiving waste disposal site or any other site approved to accept such waste by an appropriate government agency of equivalent jurisdiction.

14.4	The Contaminated Soil intended for transfer to a waste disposal site shall be shipped from the Site only to a Ministry approved waste disposal site or other site approved to accept such waste by an appropriate government agency of equivalent jurisdiction.

15.0	Contaminated Soil Management Activities:

15.1		Processing of the Contaminated Soil encompasses the following waste management activities:

- weighing all incoming and outgoing truck loads and recording the results;

- receipt, temporary storage, screening, processing and homogenization of Contaminated Soil;

- the addition of approved soil amendments to Contaminated Soil;

- sorting of the Contaminated Soil to remove rocks and debris.

15.2	All activities approved under this Approval shall only be carried out by the Trained Personnel appropriately trained as set out in Condition 23.3.

15.3	The Owner shall ensure the Contaminated Soil stockpiles remain segregated during and after processing.

15.4	No inoculants or other additives may be added to the Contaminated Soil other than those listed in this Approval.

15.5	At no time shall any Contaminated Soil be mixed with any other waste, soil or materials if the principal purpose of the mixing is to reduce contaminant concentrations in the Contaminated Soil.

16.0	Site Inspections:

16.1	The Owner shall maintain at the Site a comprehensive written Inspection Program which includes procedures for inspections of all aspects of the Site's operations including the following:

- Contaminated Soil, Processed Soil and any other waste loading/unloading/storage/handling areas;

- condition of all major pieces of the Equipment;

- condition of all instruments for monitoring required under this Approval;

- presence of excessive fugitive dust emissions from the operation of the Site;

- presence of on and off-site litter; and

- presence of off-site odours.

16.2	The Inspection Program required in Condition 16.1 shall be up-dated, as required, shall be retained at the Site and be made available for inspection by a Provincial Officer, upon request.

16.3	The inspections described in the Inspections Program noted in Condition 16.1 shall be undertaken daily by Trained Personnel in accordance with the inspection program to ensure that all Equipment and facilities at the Site are maintained in good working order at all times and that no off Site impacts are occurring. Any deficiencies detected during these regular inspections must be promptly corrected.

17.0	Sampling/Testing Methods:

Sampling Methods

17.1	Sampling shall be carried out as follows:

- When testing for compliance with the leachate criteria, all Contaminated Soil stockpiles sampling shall be carried out in accordance with procedures set out in the Ministry’s document entitled "Principles of Sampling and Analysis of Waste for TCLP under Regulation 347" dated February, 2002, as amended.

- When testing for bulk concentrations of the contaminating constituents, all Contaminated Soil or Processed Soil stockpiles sampling shall be carried out in accordance with procedures set out in the Ministry’s document entitled "Guidance on Sampling and Analytical Methods for Use at Contaminated Sites in Ontario", revised December 1997, and as amended.

- Samples shall be handled in accordance with the instructions of the accredited laboratory carrying out the analytical testing.

- The Owner shall ensure that discrete samples are taken and tested for:

  - VOCs; and

  - volatile SVOCs, which include the SVOCs with the Henry’s Law constant greater than 1x10-5 atmosphere m3/mol and/or vapour pressure greater than 0.05 mm Hg and which, for example, are Acenaphthene, Acenaphthylene, Anthracene, Benz(a)anthracene, Cresol (m&p-), Cresol(o-), Fluoranthene, Fluorene, Methlynapththalene (2-(1-)), Naphthalene, and Phenanthrene.

- The Owner may take composite samples of SVOCs with the Henry’s Law constant less than 1x10-5 atmosphere m3/mol and/or vapour pressure less than 0.05 mm Hg.

Testing Methods

17.2	The Owner shall submit the samples to an accredited laboratory for the required analysis.

17.3	Testing shall be carried out as follows:

- To determine if the incoming Contaminated Soil is a solid, the testing shall be carried out in compliance with the procedure in Regulation 347.

- To determine if the incoming Contaminated Soil is a leachate toxic waste, the testing shall be carried out in compliance with the TCLP in Regulation 347.

- To determine bulk concentrations of contaminants in the incoming Contaminated Soil or in the Processed Soil and to verify compliance with the Soil Standards, the testing shall be in compliance with the “Protocol for Analytical Methods Used in the Assessment of Properties under Part XV.1 of the Environmental Protection Act”, dated July 1, 2011, as amended and in accordance with the industry standards.

18.0	Verification Testing of the Contaminated Soil:

18.1	For the Contaminated Soil that has been characterized by the generator , upon its receipt at the Site, the Owner shall collect a minimum of one (1) representative sample from the incoming Contaminated Soil from each source in order to verify the quality of the incoming Contaminated Soil and test it depending on the final destination as set out in Conditions 18.2, 18.3, 18.4 and 18.5, below.

18.2	For the Contaminated Soil that has been characterized by the generator and is destined for final disposal at a non-hazardous waste landfill site, the Owner shall test the Contaminated Soil for the parameters required to verify that the incoming Contaminated Soil is a non-hazardous waste, including the relevant parameters set out in Schedule 4 entitled “Leachate Quality Criteria” of Regulation 347.

18.3	For the Contaminated Soil that has been characterized by the generator and is destined for transfer to an approved waste disposal site, the Owner shall test the Contaminated Soil for the parameters required to demonstrate compliance with the waste disposal site's waste receipt restrictions.

18.4	For the Contaminated Soil that has been characterized by the generator and is destined for reuse as set out in Conditions 20.2(1)b. through 20.2(1)f., the Owner shall test the Contaminated Soil for the following parameters:

- parameters required to confirm that the incoming Contaminated Soil is a solid and a non-hazardous waste, including the relevant parameters set out in Schedule 4 entitled “Leachate Quality Criteria” of Regulation 347;

- petroleum hydrocarbon fractions: F1 (C6-C10), F2 (>C10-C16), F3 (>C16-C34), and F4 (>C34);

- Benzene, Toluene, Ethyl Benzene and any other VOCs  based on the source site uses and history;

- SVOCs based on the source site uses and history;

- heavy metals based on the source site uses and history; and

- any other contaminants based on the source site uses and history.

18.5	Sampling of the incoming Contaminated Soil for the purpose of characterization required by Conditions 18.1 through 18.4, above, shall be carried out:

- upon receipt at the Site;

- prior to mixing with any Similar Soils, any Bioaugmentation Compound(s) solution, and the Biostimulation Compound(s);

- in accordance with the sampling/testing protocols set out in Condition 19.0.

19.0	Processed Soil Testing:

19.1	The Owner shall collect samples of the Processed Soil destined for the same reuse receiving site as set out in Condition 20.2(1), paragraphs b through g, in accordance with the following frequency:

- for stockpile volume of less than 130 m3, a minimum of 3 samples shall be collected;

- for stockpile volume of less than 220 m3 but more than 130 m3, a minimum of 4 samples shall be collected;

- for stockpile volume of less than 320 m3 but more than 220 m3, a minimum of 5 samples shall be collected;

- for stockpile volume of less than 430 m3 but more than 320 m3, a minimum of 6 samples shall be collected;

- for stockpile volume of less than 550 m3 but more than 430 m3, a minimum of 7 samples shall be collected;

- for stockpile volume of less than 670 m3 but more than 550 m3, a minimum of 8 samples shall be collected;

- for stockpile volume of less than 800 m3 but more than 670 m3, a minimum of 9 samples shall be collected;

- for stockpile volume of less than 950 m3 but more than 800 m3, a minimum of 10 samples shall be collected;

- for stockpile volume of less than 1,100 m3 but more than 950 m3, a minimum of 11 samples shall be collected;

- for stockpile volume of less than 1,250 m3 but more than 1,100 m3, a minimum of 12 samples shall be collected;

- for stockpile volume of less than 1,400 m3 but more than 1,250 m3, a minimum of 13 samples shall be collected;

- for stockpile volume of less than 1,550 m3 but more than 1,400 m3, a minimum of 14 samples shall be collected;

- for stockpile volume of less than 1,700 m3 but more than 1,550 m3, a minimum of 15 samples shall be collected;

- for stockpile volume of less than 1,850 m3 but more than 1,700 m3, a minimum of 16 samples shall be collected;

- for stockpile volume of less than 2,050 m3 but more than 1,850 m3, a minimum of 17 samples shall be collected;

- for stockpile volume of less than 2,200 m3 but more than 2,050 m3, a minimum of 18 samples shall be collected;

- for stockpile volume of less than 2,350 m3 but more than 2,200 m3, a minimum of 19 samples shall be collected;

- for stockpile volume of less than 2,500 m3 but more than 2,350 m3, a minimum of 20 samples shall be collected;

- for stockpile volume of less than 2,700 m3 but more than 2,500 m3, a minimum of 21 samples shall be collected;

- for stockpile volume of less than 2,900 m3 but more than 2,700 m3, a minimum of 22 samples shall be collected;

- for stockpile volume of less than 3,100 m3 but more than 2,900 m3, a minimum of 23 samples shall be collected;

- for stockpile volume of less than 3,300 m3 but more than 3,100 m3, a minimum of 24 samples shall be collected;

- for stockpile volume of less than 3,500 m3 but more than 3,300 m3, a minimum of 25 samples shall be collected;

- for stockpile volume of less than 3,700 m3 but more than 3,500 m3, a minimum of 26 samples shall be collected;

- for stockpile volume of less than 3,900 m3 but more than 3,700 m3, a minimum of 27 samples shall be collected;

- for stockpile volume of less than 4,100 m3 but more than 3,900 m3, a minimum of 28 samples shall be collected;

- for stockpile volume of less than 4,300 m3 but more than 4,100 m3, a minimum of 29 samples shall be collected;

- for stockpile volume of less than 4,500 m3 but more than 4,300 m3, a minimum of 30 samples shall be collected;

- for stockpile volume of less than 4,700 m3 but more than 4,500 m3, a minimum of 31 samples shall be collected;

- for stockpile volume of less than 5,000 m3 but more than 4,700 m3, a minimum of 32 samples shall be collected;

- for stockpile volume of greater than 5,000 m3, a minimum of samples to be collected shall be calculated in accordance with the following formula:

N = 32 + (volume – 5000 / 300)

Where “volume” is the actual stockpile volume

19.2	The Owner shall test the samples of the Processed Soil in accordance with the requirements set out in Condition 19.0 to ensure compliance with the applicable quality criteria set out in Condition 20.0.

19.3	Additional sampling and analysis specific to the receiving site shall be carried out as required by the local municipality, the local conservation authority and any applicable federal/provincial legislation.

19.4	Should the receiving site be subject to the requirements set out in O. Regulation 153/04, additional sampling and analysis specific to the receiving site shall be carried out as recommended by the Qualified Person for the receiving site.

20.0	Quality Criteria and Tested Soil reuse:

20.1	Quality Criteria:

- based on the final destination of the Tested Soil set out in Condition 20.2, below, the Processed Soil shall not exceed the appropriate quality criteria for the contaminants identified;

- the Processed Soil shall also comply with any other applicable requirements for the receiving site as required by the local municipality, the local conservation authority and any other applicable provincial/federal legislation;

- the Contaminated Soil intended for transfer to a waste disposal site shall not exceed the criteria set out in the Environmental Compliance Approval issued by the Ministry for the receiving waste disposal site or any other site approved to accept such waste by an appropriate government agency of equivalent jurisdiction.

20.2	Tested Soil reuse:

(1)	The Tested Soil may leave the Site only to be deposited at any one of the following receiving sites:

a.	a waste disposal site approved under Part II.1 of the EPA to accept the Tested Soil;

b.	a RSC property within the meaning of O. Regulation 153/04, provided that the Tested Soil deposition on, in or under the property complies with the requirements set out in section 55 of O. Regulation 153/04;

c.	a property that is a pit or quarry under the ARA, if:

i.	the Qualified Person has confirmed in writing that the concentrations of constituent contaminants of the Tested Soil and the deposition of the Tested Soil at the pit or quarry complies with the requirements of the ARA, and the regulations, the site plan and the conditions of the licence or permit under the ARA; and

ii.	the Qualified Person has determined it is appropriate to bring the Tested Soil to the site and this determination was done with consideration given to the contaminant volumes and loading, the impacts on the existing conditions at the receiving site and the introduction of new contaminants to the receiving site;

d.	a property for which a Permit has been issued and the Tested Soil complies with the requirements outlined in the Permit;

e.	a property that is a mine and which is undergoing rehabilitation in accordance an approved closure plan recognized under Part VII of the Mining Act, R.S.O. 1990, Chapter M.14 , if:

i.	the Qualified Person has confirmed in writing that the concentrations of constituent contaminants of the Tested Soil and the deposition of the Tested Soil at the mine complies with the requirements of the Mining Act, and the regulations, the site plan and the conditions of the closure plan recognized under the Mining Act;

ii.	the Qualified Person has determined it is appropriate to bring the Tested Soil to the site and this determination was done with consideration given to the contaminant volumes and loading, the impacts on the existing conditions at the receiving site and the introduction of new contaminants to the receiving site; and

iii.	the deposition of Tested Soil at the site does not involve deposition in a water body;

f.	any other receiving site not already listed in Conditions 20.2(1)a. though 20.2(1)e., above, provided that the receiving site has been assessed by a Qualified Person and the Qualified Person has confirmed in writing that the maximum concentrations of constituent contaminants of the Tested Soil do not exceed the following quality criteria:

i.	the receiving site's existing average concentrations of said constituents in the soil horizon in which the Tested Soil is to be deposited, or in the soil horizon of equivalent depth immediately below the fill if the Tested Soil is to be placed on top of the existing soil surface;

ii.	the appropriate Table 2 Soil Standards for the current land use of the receiving site if the said Table 2 Soil Standards are lower than the receiving site's existing average concentrations referred to in Condition 20.2(1)(f)i., above; or

iii.	the appropriate Table 2 Soil Standards for the current land use of the receiving site if a Qualified Person has confirmed in writing that:

A.	the Qualified Person has determined it is appropriate to use the applicable Soil Standards for bringing the Tested Soil to the receiving site; and

B.	has determined this with consideration given to the Ministry document “Rationale for the Development of Soil and Ground Water Standards for Use at Contaminated Sites in Ontario, revised version April 15, 2011”, including consideration of the factors used in setting the Soil Standards.

(2)	Notwithstanding Condition 20.2(1)f., the sites covered under Condition 20.2(1)f. cannot include a type of property described in section 41.(1) of O. Regulation 153/04.

(3)	Before shipping any Tested Soil from the Site, the Owner shall obtain from the receiving site’s owner a written confirmation certified by the Qualified Person, that:

a.	the Tested Soil quality and quantity is appropriate for the receiving site;

b.	the receiving site’s owner agrees to accept the Tested Soil; and

c.	the deposition of the Tested Soil at the receiving site will not cause an Adverse Effect to human health or the environment.

(4)	The Qualified Person shall certify that the confirmations required in Conditions 20.2(1) and 20.2(3), above, have been based on engineering or scientific opinions made in accordance with generally accepted principles and practices as recognized by members of the environmental engineering or science profession or discipline practising at the same time and in the same or similar location.

21.0	Housekeeping and Nuisance Impact Control

Vermin and Vectors

21.1	The Owner shall implement necessary housekeeping procedures to eliminate potential sources of attraction for vermin and vectors.

Dust

21.2	The Owner shall implement best management practices to minimize the generation of dust such that it does not result in an off-site nuisance.

Litter

21.3	The Owner shall pick up the litter at the Site, as required to prevent its escape from the Site.

Vehicles and Traffic

21.4	The Owner shall ensure that vehicles leaving the Site do not drag waste onto the public roadways.

21.5	The Company shall ensure that trucks leaving the Site have been cleaned in such a manner as to prevent the off-site tracking of dirt and mud.

21.6	The Owner shall ensure that the vehicles transporting any wastes from the Site are appropriately covered as they depart from the Site, so that fugitive dust or odour emissions are minimized during the transit to their destination.

22.0	Complaints Response Procedure

22.1	A designated representative of the Owner shall be available to receive public complaints caused by the operations at the Site twenty-four (24) hours per day, seven (7) days per week.

22.2	If at any time, the Owner receives a complaint regarding the operation of the Site, the Owner shall respond to the complaint according to the following procedure:

- the Owner shall record each complaint on a formal complaint form entered in a computerized tracking system. The information recorded shall include the nature of the complaint, circumstances of the complaint including the wind direction and other weather conditions, the name, address and the telephone number of the complainant, if available, and the time and date of the complaint;

- the Owner, upon notification of the complaint shall initiate appropriate steps to determine all possible causes of the complaint, proceed to take the necessary actions to eliminate the cause of the complaint and forward a formal reply to the complainant; and

- The Owner shall notify the District Manager, in writing, of each environmental complaint within two (2) business days of the complaint.  Notification shall include a description of what actions, if any, were taken to identify and remediate the cause of the complaint, the name(s) of Owner personnel responsible for handling the incident and a description of the measures taken to prevent a similar occurrence in the future.

23.0	Operations Manual and Staff Training

Operations Manual

23.1	The Owner shall maintain an Operations Manual for the Site.  As a minimum, the Operations Manual must contain the following:

- outline of the responsibilities of the Site personnel;

- personnel training protocols;

- Site operating procedures including but not limited to Contaminated Soil and soil amendment receiving, unloading/loading, screening, handling and storage procedures

- sampling, testing, monitoring and recording procedures as required by this Approval;

- required data recording procedures;

- emergency response procedures including an outline of the responsibilities of Site personnel including roles and responsibilities during emergency situations, exit locations and evacuation routing, and locations of relevant Equipment available for handling of the emergency situations;

- the contingency plans for the Site;

- Equipment and Site inspection procedures, as required by this Approval;

- nuisance impact control & housekeeping procedures, as required by this Approval; and

- the procedures for handling and recording complaints as described in this Approval.

23.2	A copy of this Operations Manual shall be kept at the Site, shall be accessible to Site personnel at all times and shall be updated as required.

Training

23.3	Site employees shall be trained with respect to the following:

- operation and management of the Site, or area(s) within the Site, as per the specific job requirements of each individual employee in accordance with the Operations Manual required by Condition 23.1, above;

- terms and conditions of this Approval, relevant to  the specific job requirements of each individual employee in accordance with the Operations Manual required by Condition 23.1, above;

- environmental, and occupational health and safety concerns pertaining to the wastes to be handled;

- emergency first-aid information and the use of the Equipment and materials outlined in the Emergency Response and Contingency Plan;

- relevant waste management legislation and regulations, including the EPA and Regulation 347; and

- for those employees involved in the sampling/testing of Contaminated Soil, sampling/testing protocols required for the characterization of the incoming the Contaminated Soil and the outgoing Processed Soil.

23.4	The Owner shall ensure that all employees at the Site are trained in the requirements of this Approval relevant to the employee's position:

- upon commencing employment at the Site in a particular position; and

- whenever items listed in Condition 23.3a. are changed or during planned refresher training.

24.0	Contingency Plan:

24.1	The Owner shall maintain an up-to date Contingency Plan for the Site.  The Contingency Plan shall be revised, as required, in consultation with the District Manager. The Contingency Plan, as a minimum must include the following:

- procedures and actions to be taken should the incoming Contaminated Soil not meet the quality criteria set out in this Approval;

- procedures and actions to be taken should the outgoing Residual Waste or the Contaminated Soil destined for transfer off-Site not meet the quality criteria set out in the receiving site's Environmental Compliance Approval;

- procedures and actions to be taken should the Processed Soil fail to meet the required quality standards;

- procedures and actions to be taken should the temporary storage of the Contaminated Soil or of any other waste at the Site result in occurrence of complaints;

- procedures and actions to be taken should the receipt of any incoming Contaminated Soil be likely to cause the storage limits for the Site to be exceeded, including ceasing the receipt of all Contaminated Soil at the Site until sufficient material can be moved off-site and reporting to the District Manager in the event that such contingency measures need to be implemented;

- procedures and actions to be taken should the occurrence of complaints require the Owner to implement additional environmental impact control measures; and

- procedures and actions to be taken should the occurrence of complaints require the Owner to suspend the Contaminated Soil handling activities at the Site.

24.2	An up-to-date version of the Contingency Plan shall be kept at the Site, in a central location known and available to all Site personnel. A copy shall be made available to Ministry staff upon request.

24.3	The Contingency Plan shall be reviewed on an annual basis and updated, if necessary.  Revised versions of the Contingency Plan shall be provided to the District Manager upon request.

25.0	Emergency Situations Response and Reporting:

25.1	The Owner shall maintain an up-to date Emergency Response Plan for the Site.  The Emergency Response Plan shall be revised, as required, in consultation with the District Manager.  The Owner shall also invite the local municipality and the local Fire Department to provide input and/or comments into revisions of the Emergency Response Plan.  The Emergency Response Plan, as a minimum must include the following:

- emergency response procedures to be undertaken in the event of a spill, process upset, power failure, fire or any other emergency situation, including specific clean up methods for wastes expected to be generated from the emergency situation;

- a list of Equipment and clean up materials available for dealing with the emergency situations and their locations on the Site plan;

- notification protocol with names and telephone numbers of persons to be contacted, including persons responsible for the Site, the Ministry's District Office and Spills Action Centre, the local Fire Department, the local Municipality, the local Medical Officer of Health, and the Ministry of Labour, and the names and telephone numbers of waste management companies available for emergency response;

25.2	The Owner shall immediately take all necessary measures, as set out in the Emergency Response Plan, to handle the emergency situations occurring at the Site.

25.3	The Owner shall ensure that the Equipment and materials outlined in the Emergency Response Plan are immediately available at the Site at all times and are in a good state of repair and fully operational.

25.4	The Owner shall ensure that all Site employees are fully trained in the use of the Equipment and materials outlined in the Emergency Response Plan, and in the procedures to be employed in the event of an emergency.

25.5	All Spills shall be immediately reported to the Ministry's Spills Action Centre at 1-800-268-6060 and to the local municipality and shall be recorded in the log book as to the nature and cause of the Spill, and the action taken for clean-up, correction and prevention of similar future occurrences.

25.6	Should a Spill occur at the Site, in addition to fulfilling the requirements from the EPA, the Owner shall submit to the District Manager a written report within three (3) calendar days outlining the nature of the Spill, remedial measure taken and the measures taken to prevent future occurrences at the Site.

26.0	Record Keeping

Daily Activities

26.1	The Owner shall maintain a written or digital record of daily activities undertaken at the Site.  All measurements shall be recorded in consistent metric units of measurement.   The record shall include, as a minimum, the following information:

- date of receipt and the name of the original Contaminated Soil generator, source site location, land/use of the source site, and the quantity (tonnage and number of trucks) of the Contaminated Soil received;

- results of the required characterization of the incoming Contaminated Soil;

- the Contaminated Soil processing activities undertaken at the Site, including the amounts of soil amendments used;

- date, quantity, type, quality (including the analytical data from any compliance testing) and the destination of the Processed Soil and of the Contaminated Soil destined for transfer off-site;

- date, quantity, type, and the destination of the total Residual Waste, transferred from the Site for final disposal;

- date, quantity, type, quality (including the analytical data from any compliance testing, if applicable) and the destination of the Rejected Waste transferred off-site and the reason for rejection;

- a running total of the amount of Contaminated Soil, Processed Soil and Residual Waste at the Site;

- the running total of the Processed Soil and its characterization results, if characterization has been completed;

- copies of the signed confirmations required in Conditions 20.2, above, for each of the receiving sites and the confirmation of the credentials for the Qualified Person, as applicable;

- the date when each new preventative measure or operating procedure to minimize emissions to the atmosphere is implemented, including a description of the preventative measure or operating procedure; and

- the date, time of commencement, and time of completion of housekeeping and other periodic activities conducted to minimize emissions to the atmosphere, including a description of the preventative measure/procedure and the name of the individual performing the activity.

Emergency Situations

26.2	The Owner shall maintain a written or digital record of the emergency situations.  The record shall include, as a minimum, the following:

- the type of an emergency situation;

- description of how the emergency situation was handled;

- the type and amount of material spilled, if applicable;

- a description of how the spilled material was cleaned up and waste stored, if generated; and

- the location and time of final disposal, if applicable.

Inspections and Maintenance

26.3	The Owner shall maintain a written or digital record of inspections and maintenance as required by Condition 16.0, above.  The record shall include, as a minimum, the following:

- the name and signature of person that conducted the inspection;

- the date and time of the inspection;

- the list of any deficiencies discovered;

- the recommendations for remedial action;

- the date, time and description of actions taken; and

- all records on the maintenance, repair and inspection of the Equipment.

Training

26.4	The Owner shall maintain a written or digital record of training as required by Condition 23.3, above.  The record shall include, as a minimum, the following:

- date of training;

- name and signature of person who has been trained; and

- description of the training provided.

Sampling & Testing Records

26.5	The Owner shall establish and maintain a written or digital record of all sampling and testing activities at the Site as required by Conditions 18.0 and 20.0, above.  This record shall include, as a minimum, the following information:

- Contaminated Soil type sampled, sample collection locations and volume collected;

- day and time of collection;

- sample handling procedures;

- name of the person undertaking the sampling;

- parameters tested for and the results;

- name of the laboratory facility conducting the testing, if applicable; and

- conclusions drawn with respect to the results of the testing.

Complaints Response Records

26.6	The Owner shall establish and maintain a written or digital record of all complaints and the responses as required by Condition 24.0, above.

27.0	Annual Report:

27.1	By March 31st following the end of each operating year, the Owner shall prepare an Annual Report, in a format acceptable to the District Manager, summarizing the operation of the Site covering the previous calendar year. This Annual Report shall be maintained on-site for a minimum of seven (7) years from the date of creation, to be made available to the Ministry upon request, and shall include as a minimum the following information:

- annual amount of Contaminated Soil received at the Site;

- a summary of the amount of Contaminated Soil and Processed Soil transferred from the Site and their final destinations;

- a summary describing any Rejected Waste including quantity, type, reasons for rejection, its origin and its final destination;

- annual amount of the Residual Waste transferred from the Site for final disposal and its destination;

- any environmental and operational problems, that could negatively impact the environment, encountered during the operation of the Site or identified during the Site inspections and any mitigative actions taken;

- details of any implementation of the Contingency Plan;

- any changes to the Emergency Response and Contingency Plan, the Operations Manual or the Closure Plan that have been approved by the Director or the District Manager since the last Annual Report;

- any recommendations to minimize environmental impacts from the operation of the Site and to improve Site operations and monitoring programs in this regard;

- a summary of any complaints received and the responses made, as required by this  Approval;

- a descriptive summary of any spills, incidents or other emergency situations which have occurred at this Site, any remedial measures taken, and the measures taken to prevent future occurrences;

- an annual summary of any deficiencies, items of non-compliance or process aberrations that occurred at this Site and any remedial/mitigative action taken to correct them;

- an up-to-date estimate of the Financial Assurance required for the Site.

27.2	The Owner shall keep a copy of the latest Annual Report at the Site at all times.

28.0	Additional District Manager Notification:

28.1	The District Manager shall be notified in writing of the receipt of Rejected Waste within four (4) business days of its receipt.  The following information shall be included in the notification to the District Manager:

- quantity and type of the Rejected Waste;

- source of the Rejected Waste, if known;

- reason for the rejection;

- final destination of the Rejected Waste; and

- date of receipt and time and date of removal from the Site.

28.2	Should the Owner become aware that a vehicle delivering Contaminated Soil to the Site has leaked waste and/or wastewater on the municipal roadways, the Owner shall immediately report the violation to the owner of the vehicle(s) and to the District Manager.

28.3	The District Manager shall be notified in writing within two (2) business days of implementing the Contingency Plan for the Site  The following information shall be included in the notification to the District Manager:

- the reason for implementing the Contingency Plan;

- the date the Contingency Plan was implemented;

- the actions taken to implement the Contingency Plan;

- the expected date for operations at the Site to return to normal.

29.0	Site Closure:

29.1	The Owner shall submit, for approval by the Director, a written Closure Plan for the Site at least nine (9) months prior to closure of the Site.  This Closure Plan shall include, as a minimum, a description of the work that will be done to facilitate closure of the Site and a schedule for completion of that work.

29.2	Within ten (10) days after closure of the Site, the Owner shall notify the Director, in writing, that the Site is closed and that the Closure Plan has been implemented.

SCHEDULE "A"

This Schedule "A" forms part of this Approval.

1.	Environmental Compliance Approval application dated April 29, 2019 signed by George Kirchmair, P.Eng., Vice President, Environmental Services, including all supporting documentation.

2.	Email dated November 19, 2019 from George Kirchmair, P.Eng., to Andrew Neill, P.Eng., MECP, with additional information on FA, the use of cement, compost, manure and other soil amendments.

3.	Email dated December 3, 2019 from George Kirchmair, P.Eng., to Andrew Neill, P.Eng., MECP, with additional information on cement kiln dust.

The reasons for the imposition of these terms and conditions are as follows:

Conditions 1.1, 1.2, 1.4, 1.5, 1.6, 1.7, 1.8, 1.9, 1.10, 1.11, 1.12, 41 and 4.2 are included to clarify the legal rights and responsibilities of the Owner.

Condition 1.3 is included to ensure that the Site is build and operated in accordance with the application and supporting documentation submitted by the Owner, and not in a manner which the Director has not been asked to consider.

Condition 1.13 is included to ensure that the Site is operated under the corporate name which appears on the application form submitted for this approval and to ensure that the Director is informed of any changes.

Condition 1.14 is included to restrict potential transfer or encumbrance of the Site without the approval of the Director and to ensure that any transfer of encumbrance can be made only on the basis that it will not endanger compliance with this Approval.

Conditions 2.1, 2.2, 12.1, 14.0 and 15.0 are included to ensure that waste handling and storage are undertaken in done in a way which does not result in an adverse environmental effect or a hazard to the environment or any person and in accordance with the application and supporting documentation submitted by the Owner, and not in a manner which the Director has not been asked to consider.

Condition 3.1 is included to ensure that the appropriate Ministry staff has ready access to the operations of the Site which are approved under this Approval.  The Condition is supplementary to the powers of entry afforded a Provincial Officer pursuant to the EPA, the OWRA, the PA, the NMA and the SDWA.

Condition 5.0 is included to ensure that sufficient funds are available to the Ministry to clean up the Site in the event that the Owner is unable or unwilling to do so.

Conditions 6.1, 6.2, 6.3, 6.4, 7.1 and 8.0 are included to specify the approved Waste types, the approved receiving and storage limits, waste handling procedures, the approved process amendments and the service area from which the Waste may be accepted at the Site based on the Owner’s application and supporting documentation.

Condition 9.0 is included to ensure that the Site’s users, operators and the public are fully aware of important information and restrictions related to the operation of the Site.  Condition 9.0 is also included to ensure that the Site is sufficiently secured to prevent unauthorized access when the Site is closed.

Conditions 10.1 and 10.2 are included to specify the hours of operation for the Site.

Conditions 11.1, 11.2, 11.3, 11.4, 11.5, 11.6, 11.7, 11.8, 11.9, 11.10, 11.11, 11.12, 13.1, 20.1, 20.2, 20.3, 20.4 and 20.5 are included to ensure that only the approved Waste types are accepted and handled/processed at the Site.

Condition 16.0 is included to require the Site to be inspected thoroughly and on a regular basis to ensure that the operations at the Site are undertaken in a manner which does not result in an adverse environmental effect or a hazard to the health and safety of the environment or any person.

Conditions 17.0, 18.0 and 19.0 are included to that sampling and testing of Contaminated Soil is carried out in accordance with prescribed standards and accepted practice, and that the information provided by site generators is verified.

Conditions 20.0 is included to identify the Soil Quality Criteria that must be met before the Processed Soil is considered suitable for its intended future re-use in a manner that protects the health and safety of people and the environment.

Condition 21.0 is included to ensure that the Site is operated and maintained in an environmentally acceptable manner which does not result in a negative impact on the natural environment or any person.

Condition 22.0 is included to require the Owner to appropriately respond to any environmental complaints resulting from the waste management operations at the Site.

Condition 23.0 is included to ensure that personnel employed at the Site are fully aware and properly trained on the requirements and restrictions related to Site operations under this Approval.

Conditions 24.0 and 25.0 are included to ensure that the Owner is prepared and properly equipped to take action in the event of an emergency situation and to require further spill notification to the Ministry in addition to the requirements already listed in Part X of the EPA.

Conditions 26.0 and 27.0 are included to ensure that detailed records of Site activities, inspections, monitoring and upsets are recorded and maintained for inspection and information purposes.

Condition 28.0 is included to ensure that the District Manager is notified in the event of waste rejection or spills.

Condition 29.0 is included to ensure that final closure of the Site is completed in accordance with Ministry’s standards.

In accordance with Section 139 of the Environmental Protection Act, you may by written Notice served upon me, the Environmental Review Tribunal and in accordance with Section 47 of the Environmental Bill of Rights, 1993, the Minister of the Environment, Conservation and Parks, within 15 days after receipt of this Notice, require a hearing by the Tribunal.  The Minister of the Environment, Conservation and Parks will place notice of your appeal on the Environmental Registry.  Section 142 of the Environmental Protection Act provides that the Notice requiring the hearing shall state:

- The portions of the environmental compliance approval or each term or condition in the environmental compliance approval in respect of which the hearing is required, and;

- The grounds on which you intend to rely at the hearing in relation to each portion appealed.

The Notice should also include:

- The name of the appellant;

- The address of the appellant;

- The environmental compliance approval number;

- The date of the environmental compliance approval;

- The name of the Director, and;

- The municipality or municipalities within which the project is to be engaged in.

And the Notice should be signed and dated by the appellant.

This Notice must be served upon:

| The Secretary* Environmental Review Tribunal 655 Bay Street, Suite 1500 Toronto, Ontario M5G 1E5 | AND | The Minister of the Environment, Conservation and Parks 777 Bay Street, 5th Floor Toronto, Ontario M7A 2J3 | AND | The Director appointed for the purposes of Part II.1 of the Environmental Protection Act Ministry of the Environment, Conservation and Parks 135 St. Clair Avenue West, 1st Floor Toronto, Ontario M4V 1P5 |
| --- | --- | --- | --- | --- |

*  Further information on the Environmental Review Tribunal’s requirements for an appeal can be obtained directly from the Tribunal at:  Tel: (416) 212-6349, Fax: (416) 326-5370 or www.ert.gov.on.ca

This instrument is subject to Section 38 of the Environmental Bill of Rights, 1993, that allows residents of Ontario to seek leave to appeal the decision on this instrument.  Residents of Ontario may seek leave to appeal within 15 days from the date this decision is placed on the Environmental Registry.  By accessing the Environmental Registry at https://ero.ontario.ca/, you can determine when the leave to appeal period ends.

The above noted activity is approved under s.20.3 of Part II.1 of the Environmental Protection Act.

| DATED AT TORONTO this 20th day of December, 2019 |  |
| --- | --- |
|  | Mohsen Keyvani, P.Eng. Director appointed for the purposes of Part II.1 of the Environmental Protection Act |

AN/

c:	District Manager, MECP  Toronto - District

George Kirchmair, York Environmental Solutions Ltd.