Ministère de l’Environnement, de la Protection de la nature et des Parcs

191 Booth Road, Unit 16

North Bay, ON, P1A 4K3

Tél.: 705-497-6865

Téléc.: 705-497-6866

Ministry of the Environment, Conservation and Parks

191 Booth Road, Unit 16

North Bay, ON, P1A 4K3

Tel’: 705-497-6865

Fax: 705-497-6866

Justin Leblanc o/a Justin Septic 580 Quesnel Road, Sturgeon Falls, ON, P2B 2V9 Operating under Waste Management System (Hauled Sewage) Environmental Compliance Approval number 6559-6UNSVJ. For the Site located at: Sandy Falls Road, Lot 10, Con 2, Pedley Township, Nipissing District You have applied under section 20.2 of Part II.1 of the Environmental Protection Act, R.S.O. 1990, c. E.19 (Environmental Protection Act) for approval of: The use and operation of a Hauled Sewage Dewatering Site for the disposal of Hauled Sewage. The Hauled Sewage Dewatering Site is to include up to 3 Dewatering Impoundment Ponds with a total Site capacity of 3000 cubic meters of hauled sewage in any 12-month period.

For the purpose of this environmental compliance approval, the following definitions apply: - "Act" means the Environmental Protection Act, R.S.O. 1990, c. E.19, as amended; - "Approval" means this entire Environmental Compliance Approval including its schedules, if any, issued under section 20.3 of II.1 of the Act; - “Clean Water Act” means the Clean Water Act, 2006, S.O. 2006, c. 22, as amended; - “commercial, community or institutional use” means any commercial, community or institutional use, including without limitation the use of land for, - an office building, - a hotel, motel, hostel or similar type of accommodation, - an overnight camp or overnight campgrounds, - indoor recreational or sporting activities, - indoor gatherings for civic, religious or social purposes, - indoor performing arts activities, - a railway station, airport passenger terminal or other embarkation or debarkation point for travellers, - a day care centre, - educational purposes, including a school, college, university, private career college or associated residence, - a health care facility, or - a penitentiary, jail or other place of custody or detention; - "Company" means Justin Septic, or its agents or assignees; - “Dewatering Impoundment Pond” means an impoundment pond 35 meters wide and 300 meters long constructed on grade with berms surrounding each impoundment pond. The impoundment pond is designed to promote the exfiltration of effluent into the surrounding shallow ground surface leaving behind organic and inorganic solids. - "Director" means any Ministry employee appointed by the Minister pursuant to Section 5 of the Act; - "District Manager" means the District Manager of the Ministry for the geographic area in which a Site is located; - "Hauled Sewage" means “Hauled Sewage” as defined in R.R.O. 1990, Reg. 347, made under the Act; - "Hauled Sewage Dewatering Impoundment Pond Site" means a Hauled Sewage Dewatering Site, the location of which is approved by the Ministry; - "Ministry" means the Ministry of the Environment, Conservation and Parks; - “Nutrient Management Act” means the Nutrient Management Act, 2002, S.O. 2002, c. 4, as amended - “Ontario Water Resources Act” means the Ontario Water Resources Act, R.S.O. 1990, c. O.40, as amended; - “Operator” means Justin Leblanc o/a Justin Septic; - “Pesticides Act” means the Pesticides Act, R.S.O. 1990, c. P.11, as amended; - “Residential Area” means an area in which there are three or more lots of not more than one hectare, - that are adjacent to each other or not separated by anything other than a road allowance or right of way, and - on each of which there is a residential building - "Sensitive use" means residential, commercial, community, recreational or institutional uses, and locations at which people regularly congregate; - "Sewage Works" means a Sewage Works approved under Part II.1 of the Act; - "Site" means a location approved to receive Hauled Sewage under the Approval; - “Surface Water” means water found in lakes, ponds, rivers, streams, wetlands, swamps, artificial watercourses, intermittent watercourses and seasonally wet areas, including ditches and swales. You are hereby notified that this environmental compliance approval is issued to you subject to the terms and conditions outlined below: TERMS AND CONDITIONS GENERAL - The requirements of the Approval are severable. If any requirement of the Approval, or the application of any requirement of the Approval to any circumstance, is held invalid, the application of such requirement to other circumstances and the remainder of the Approval shall not be affected in any way; and - The issuance of, and compliance with the conditions of the Approval does not: - relieve any person of any obligation to comply with any provision of any applicable statute, regulation, by-law or other legal requirement; or - limit in any way the authority of the Ministry to require that certain actions be taken by Justin Leblanc o/a Justin Septic or to require Justin Leblanc o/a Justin Septic to furnish any further information related to compliance with the Approval. - Except as otherwise provided by these conditions, the Site shall be operated in accordance with the application submitted for the Approval and with the supporting documentation submitted to the Ministry as part of the application listed in Schedule "A". - The Company, any owner of the property comprising the Site and the Operator shall ensure that it is operated in accordance with these conditions. - The Company shall ensure that any communication/correspondence made in relation to the Site or to the Approval includes reference to this Approval number. - The Company shall notify the Director in writing of any of the following changes within thirty (30) days of the change occurring: - change of owner of the property comprising the Site; - change of Operator; or - change of Company or Company address. In the event of a change in ownership of the property comprising the Site, the Company shall forthwith notify in writing the succeeding owner of the existence of the Approval and provide the successor with an up-to-date copy of the Approval and a copy of such notice shall forthwith be forwarded to the Director. DESIGN AND CONSTRUCTION REQUIREMENTS: - All sewage works approved under Environmental Compliance Approval “Pedley-2012-001” are to cease operation once the Dewatering Impoundment Ponds approved under this Environmental Compliance Approval are operational. - Dewatering Impoundment Ponds constructed and operated at the Site shall meet the following design and construction standards; - Each Dewatering Impoundment Pond is to be 35 m wide by 200 m long, - The berms constructed to create the Dewatering Impoundment Ponds are to be at least 3.5m wide and 2 m high along the North, South and East side and 1.5 m high along the West side of the Dewatering Impoundment Ponds. - For each Pond a minimum separation distance of 1.5 metre shall be maintained between the water table and the lowest point of the bottom of the Pond. - Overflow from the entire retention pond complex is to drain into a collection area on-site with no discharge off property. - Embankments shall be constructed with on-site fine sands and shall be no steeper than 1:3 ratio. - Individual Ponds shall be situated a minimum of 3.5 metres apart from all other Ponds. - For each Dewatering Impoundment Pond there shall be a minimum separation distance of at least 100 metres to the nearest up-gradient or cross-gradient drinking water wells. - For each Dewatering Impoundment Pond there shall be minimum separation distance of at least 500 metres to the nearest down-gradient drinking water well(s). - For each Dewatering Impoundment Pond there shall be a minimum separation distance of at least100 metres to the nearest water course or surface water body. - For each Dewatering Impoundment Pond there shall be a minimum separation distance of at least 500 metres to the nearest Sensitive Use. - All reasonable measures shall be taken to maintain a continuous, well-established vegetative cover between each Pond. - For each Dewatering Impoundment Pond the ground in the vicinity of the pond shall be graded in a manner to prevent surface water from entering the pond. - No new Dewatering Impoundment Pond shall be constructed without first completing the following; - determine the location of all field drainage tiles or piped municipal drains within 300 metres of any Pond; - remove all drainage tiles within 300 metres of any Pond; and - redirecting the flow of the field drainage system or piped municipal drain away from the Pond. - Where drainage tiles are located within 300 metres of any existing Dewatering Impoundment Pond, the following actions shall be taken before any further hauled sewage is discharged into the Pond: - all drainage tiles within 300 metres of any Pond shall be removed; and - the flow of the field drainage system or piped municipal drain will be redirected to drain away from the Pond. SPILL PREVENTION AND COMPLAINT PROCEDURES: - Prior to initiating the operations at the Site authorized by the Approval, the Company shall develop written procedures covering the following: - spill prevention and clean up when they occur; - procedures for reporting to the Ministry, and municipal authorities as required in the event a spill occurs at the Site; - complaint procedures for receiving, documenting and responding to public complaints, including what steps the Company took to determine the cause of the complaint and what corrective measures were taken to alleviate the cause and prevent its recurrence; - a list of the personnel responsible for waste disposal operations at the Site - a list of equipment, material and personnel that will be available to deal with spills. - The Company shall ensure that all personnel involved in the operation of this Site are aware of the requirements of this Approval and are trained in the procedures outlined in this condition. OPERATIONS: - The Company must ensure that no unnecessary off-site effects, such as vermin, vectors, odour, dust, litter, noise and traffic, result from the storage or disposal of Hauled Sewage at this Site. This condition does not reduce the Company's obligations to comply with the Act or the Ontario Water Resources Act. - Dewatering Impoundment Pond overflows, spills and upsets that cause an adverse effect shall be immediately reported to the Ministry's Spills Action Centre at (416) 325-3000 or 1-800-268-6060 and the Company shall take appropriate remedial action to limit the impact. Information regarding all spills shall be recorded in the log book, referred to in condition 46 of this Approval. - Hauled sewage that is suitable for disposal in a Dewatering Impoundment Pond at the Site must be domestic waste that is human body waste, toilet or other bathroom waste, waste from other showers or tubs, liquid or water borne culinary or sink waste or laundry waste and does not include - Grease in the amount greater than 5% of total volume of sewage removed from grease traps from commercial, institutional or industrial kitchens such as restaurants; - liquid or solid material removed from the first compartment of multiple-compartment septic tanks used by commercial, institutional or industrial kitchens which do not have grease traps; - wastewater or wastes from washing machines located at industrial laundries; - wastewater resulting from manufacturing or production processes; - wastewater containing any appreciable amount (i.e. >10%) of the wastes listed under (a) to (d) inclusive. - The maximum total volume of Hauled Sewage that can be discharged at the Site in any 12-month period shall not exceed 3000 cubic meters. - Prior to discharging hauled sewage into any Dewatering Impoundment Pond at the Site, the Operator shall conduct a visual survey of all lands adjacent to the Site for the purpose of determining if any new drinking water wells or sensitive uses have been established within the setback distances described in conditions 11, 12 and 14. - In the event a well or sensitive use is identified on lands adjacent to the Site within the setback distances described in conditions 11, 12 and 14, the Operator shall cease discharging hauled sewage into any Dewatering Impoundment Pond at the Site until the following takes place: - The Operator notifies the Director in writing of the fact that the survey conducted pursuant to condition 24 identified a drinking water well or sensitive use on adjacent lands within the setback distances described in conditions 11, 12, and 14. - The Operator receives written authorization from the Director, including any required amendments to the Environmental Compliance Approval that permits the Operator to resume use of the Site as a Dewatering Impoundment Pond site. - If Hauled Sewage is screened during or prior to unloading to a Dewatering Impoundment Pond, screened materials shall be removed from the Site and disposed of at a location approved to receive material of this type for final disposal. - Hauled Sewage shall be discharged into the Dewatering Impoundment Pond with a splash plate, chute or similar device used to dissipate the energy of the liquid entering the Pond in a manner that will not permit erosion or Pond bank de-stabilization. - The Operator shall ensure that only one Dewatering Impoundment Pond serves as the “active receiving Pond” at the Site any given time. - Once a Dewatering Impoundment Pond is actively receiving hauled sewage, it shall continue to be used as the active Pond at the Site until such time that the Operator has determined the Pond should cease to be the active Pond and so long as the Pond is being operated in accordance with conditions 30, 31, and 32. - After a Dewatering Impoundment Pond is no longer the active receiving Pond, that Pond shall be rested until the next twelve month time period. - The volume of hauled sewage deposited in a Dewatering Impoundment Pond in any twelve month period shall not exceed 3000 cubic meters. - Ponds shall not be filled to a level closer than 150 mm below the point where the upper reaches of the Pond meets the top of the western berm. - Ponds shall be used in an alternating sequence in order to maximize the "rest period" between uses each twelve month period. - For every Dewatering Impoundment Pond, the Pond shall be cleaned to expose the native soils after any "rest period" and prior to re-use. The de-watered sludge shall be removed from the bottom of the Ponds and appropriately disposed of at a site approved to receive material of this type for final disposal. - For every Dewatering Impoundment Pond, vegetation shall be removed from the Pond prior to use where the Pond has been inactive for extended periods. - A sign shall be posted in a prominent location at the Site entrance clearly stating the name of the owner of the property comprising the Site, the Operator’s name, the Approval Number, the hours of operation and contact telephone number to call with complaints in the event of an emergency. - A sign shall be posted next to each individual Dewatering Impoundment Pond that clearly indicates the identification number assigned to that Pond. - During non-operating hours, the Operator shall ensure that the Site entrance and exit gates are locked and the Site is secured against access by unauthorized persons. - Records shall be maintained of the dates and volumes of Hauled Sewage discharged into each Dewatering Impoundment Pond. These records shall be utilized to determine the sequence of Pond utilization as required in condition 33 above. - The Owner shall, upon commencement of operation of the Works, carry out the following monitoring program detailed in the supporting documentation of the approval application entitled “Hydrogeological Report and Proposal Domestic Waste Retention Trench Configuration for a Disposal Capacity of 3000 cu. m. pe Year” and as amended from time to time with approval from the District Manager: Sample Location; Frequency; Sample Period; Parameter; Sample Type. MW1; Annually for at least the first 5 years of operation; July, August or September; Nitrate; Grab. MW2; Annually for at least the first 5 years of operation; July, August or September; Nitrate; Grab. MW3; Annually for at least the first 5 years of operation; July, August or September; Nitrate; Grab. MW4; Annually for at least the first 5 years of operation; July, August or September; Nitrate; Grab. - The methods and protocols for sampling, analysis and recording shall conform, in order of precedence, to the methods and protocols specified in the following: (a) the Ministry's Procedure F-10-1, “Procedures for Sampling and Analysis Requirements for Municipal and Private Sewage Treatment Works (Liquid Waste Streams Only), as amended from time to time by more recently published editions; (b) the Ministry's publication "Protocol for the Sampling and Analysis of Industrial/Municipal Wastewater" (January 1999), ISBN 0-7778-1880-9, as amended from time to time by more recently published editions; and (c) the publication "Standard Methods for the Examination of Water and Wastewater" (20th edition), as amended from time to time by more recently published editions. - The Owner shall report to the District Manager or designate, any exceedance of a nitrate trigger value concentration (12.5 mg/l) as described within “Hydrogeological Report and Proposal Domestic Waste Retention Trench Configuration for a Disposal Capacity of 3000 cu. m. pe Year” (as amended from time to time with approval from the District Manager) orally, as soon as reasonably possible and in writing within 10 days of receiving the analytical results. - Discharge of Hauled Sewage is prohibited in any area where the activity is or would be a Significant Drinking Water Threat as defined under the Clean Water Act. - In the event the separation distances set out in this approval can no longer be met, the Company shall forthwith notify the District Manager in writing of that fact. STORAGE: - No Hauled Sewage shall be stored in vehicles or tanks pursuant to the Approval at this Site. RECORD KEEPING: - The Company shall keep written records in a log book which will maintain an up-to-date record of the following activities at the Site: - a complete and up-to-date record identifying the active receiving Dewatering Impoundment Pond and showing the date and volume of Hauled Sewage discharged into each Pond at the Site; - details as to the nature of any spill or upset occurring at the and the action taken for clean-up, correction and prevention of future occurrences; - a record of all complaints received, and the action taken to address the complaint. - It is a condition of the Approval and a requirement of the Act, the Ontario Water Resources Act, the Pesticides Act and the Nutrient Management Act, that the Company must forthwith, upon the request of a Provincial Officer of the Ministry or other authorized Ministry employee, permit Provincial Officers to carry out inspections, of any place on the Property, other than any room actually used as a dwelling, to which the Approval relates. SITE CLOSURE: - Upon Closure of the Site, the Owner shall ensure solids residue is removed from the Dewatering Impoundment Ponds and disposed of or used at a site approved to receive this type of waste. In addition, all monitoring wells are to be abandoned in accordance with O.Reg. 903.

SCHEDULE "A"

This Schedule "A" forms part of this Approval:

1.	Environmental Compliance Approval Application, dated December 20, 2017 and accompanying supporting documentation dated December 9, 2017 (first report), October 2, 2018 (amended report) and May 23, 2018 (second amended report), and signed by Justin Leblanc.

The reasons for the imposition of these terms and conditions are as follows:

- The reason for conditions 1, 2, 3, 4, and 4.c is to clarify the legal rights and responsibilities of the Company.

- The reason for conditions 5,6,7,8,9,10, 15, and 16 is to ensure the Dewatering Impoundment Ponds are constructed in a manner that will promote effective effluent treatment.

- The reason for conditions 11 and 12 are to ensure minimum acceptable separation distances are maintained to minimize the risk of unacceptable impacts on nearby drinking water wells.

- The reason for condition 13 is to ensure minimum acceptable separation distances are maintained to minimize the risk of unacceptable impacts on nearby surface waters.

- The reason for condition 14 is to ensure site is constructed with a minimum acceptable separation distance from areas Sensitive Areas commonly used by the general public to reduce the risk of the Site operations resulting in a nuisance or a hazard to the health and safety of the environment or people.

- The reason for condition 16 is to ensure the Dewatering Impoundment Ponds are constructed in a manner that will reduce the risk of surface run-off entering the Ponds resulting in unintended overflows of Hauled Sewage to the surrounding ground surface.

- The reason for conditions 19 and 21 is to ensure that staff can identify Site problems and deal promptly and effectively with any spills and upsets, and any public complaints that may occur.

- The reason for condition 20 is to ensure that the Site is operated in a manner which does not result in a nuisance or a hazard to the health and safety of the environment or people.

- The reason for conditions 22, 26 and 27 is to ensure that the type of Hauled Sewage material discharged into the Dewatering Impoundment Pond is of a nature that can be effectively treated by the Ponds.

- The reason for conditions 24 and 25 is to ensure that the Operator verifies that all required separation distances between the Dewatering Impoundment Ponds and nearby drinking water wells, surface water bodies and sensitive uses are met prior to discharging hauled sewage into Site Ponds. This minimizes the risk of unacceptable impacts to groundwater water and surface water and reduces the risk of the Site operations resulting in a nuisance or a hazard to the environment or human health.

- The reason for conditions 28, 29, 30, 31, 32 and 33 is to ensure that the Dewatering Impoundment Ponds are operated in a manner that minimizes the risk of exceeding the treatment capacity of a Pond, minimizes the risk of overflows and provides an adequate “rest period” for each Pond.

- The reason for conditions 34 and 35 is to ensure that before being used, a Dewatering Impoundment Pond is cleared of materials that could impair effective treatment by interfering with the exfiltration of effluent from the Pond into the surrounding subsurface.

- The reason for condition 36  is to ensure that users of the Site are fully aware of important information and restrictions related to Site operations under this Certificate of Approval.

- The reason for condition 38  is to ensure the controlled access and integrity of the Site by preventing unauthorized access when the Site is closed.

- The reason for condition 42 is to ensure Hauled Sewage is not discharged into a Dewatering Impoundment Pond in areas where the activity is considered to be a significant drinking water threat under the Clean Water Act.

- The reason for condition 43 is to ensure Hauled Sewage is stored in a manner that minimizes the likelihood of spills and that does not present a hazard to the health and safety of the environment or people.

- The reason for condition 47 is ensure the Company and the Operator implements an established Plan for the closure of the Site.  This is to ensure the long-term health and safety of the public and the environment

- The reason for condition 34 and 47 is to ensure Hauled Sewage solids residue removed from the Dewatering Impoundment Ponds are disposed of at a facility that is designed and approved for final disposal of this material.  Final disposal at an appropriate facility is necessary to ensure the long-term health and safety of the public and the environment.

In accordance with Section 139 of the Environmental Protection Act, you may by written Notice served upon me and the Environmental Review Tribunal within 15 days after receipt of this Notice, require a hearing by the Tribunal.  Section 142 of the Environmental Protection Act provides that the Notice requiring the hearing shall state:

1.	The portions of the environmental compliance approval or each term or condition in the environmental compliance approval in respect of which the hearing is required, and;

2.	The grounds on which you intend to rely at the hearing in relation to each portion appealed.

The Notice should also include:

3.	The name of the appellant;

4.	The address of the appellant;

5.	The environmental compliance approval number;

6.	The date of the environmental compliance approval;

7.	The name of the Director, and;

8.	The municipality or municipalities within which the project is to be engaged in.

And the Notice should be signed and dated by the appellant.

This Notice must be served upon:

| The Secretary* Environmental Review Tribunal 655 Bay Street, Suite 1500 Toronto, Ontario M5G 1E5 | AND | The Director appointed for the purposes of Part II.1 of the Environmental Protection Act Angela Whiteley Supervisor – North Bay Area Office 191 Booth Road, Unit 16, North Bay, Ontario, P1A 4K3 |
| --- | --- | --- |

*  Further information on the Environmental Review Tribunal’s requirements for an appeal can be obtained directly from the Tribunal at:  Tel: (416) 212-6349, Fax: (416) 314-3717 or www.ert.gov.on.ca

The above noted activity is approved under s.20.3 of Part II.1 of the Environmental Protection Act.

This Environmental Compliance Approval revokes and replace Environmental Compliance Approval “Pedley-2012-001”

DATED AT North Bay this 15th day of July, 2019

Angela Whiteley, Supervisor, North Bay Area Office

Director, Environmental Protection Act,

Ministry of the Environment, Conservation and Parks

191 Booth Road, Unit 16,

North Bay, Ontario,

P1A 4K3